## T2_cool_below32C_no_light_trial
finger_temp_C < 32.0
Middle finger | cooled with cold water and dried before measurement.
The Terumo thermometer(Terumo ET-P265WZ（テルモ电子体温计 P265）)displayed "L" | indicating that the finger temperature was below the thermometer's measurable lower limit of 32.0°C.
No-light/covered condition | approximately 60 seconds.
time_ms | red | ir | MEAN RED | STD RED | RANGE RED | MEAN IR | STD IR | RANGE IR
896651 | 123650 | 130525 | 120242.3397 | 596.1924 | 2773 | 134542.5038 | 934.5819 | 4127
896759 | 124028 | 131565
896866 | 123840 | 132708
896974 | 123660 | 133699
897081 | 123654 | 134109
897189 | 123852 | 134710
897297 | 123923 | 135081
897404 | 123829 | 135304
897511 | 123917 | 135477
897619 | 124209 | 135958
897727 | 124216 | 136193
897834 | 124114 | 136199
897942 | 124082 | 136233
898049 | 124092 | 136371
898157 | 124257 | 136700
898264 | 124227 | 136613
898372 | 124069 | 136305
898480 | 123897 | 135999
898587 | 123649 | 135714
898695 | 123519 | 135569
898803 | 123614 | 135866
898910 | 123585 | 136038
899018 | 123530 | 136044
899125 | 123396 | 135738
899233 | 123280 | 135639
899340 | 123171 | 135643
899448 | 123202 | 135610
899556 | 123540 | 135904
899663 | 123645 | 135966
899771 | 123899 | 136186
899878 | 123490 | 135486
899986 | 123224 | 135259
900093 | 123292 | 135503
900201 | 123139 | 135433
900309 | 123272 | 135334
900416 | 123351 | 135340
900524 | 123654 | 134109
900631 | 123774 | 135088
900739 | 123912 | 135316
900847 | 123939 | 135601
900955 | 123852 | 135617
901062 | 123954 | 135801
901171 | 123926 | 135844
901279 | 123885 | 135850
901387 | 123714 | 135552
901494 | 123639 | 135591
901601 | 123617 | 135702
901709 | 123505 | 135545
901817 | 123406 | 135427
901924 | 123398 | 135477
902032 | 123417 | 135566
902139 | 123169 | 135063
902247 | 123140 | 135115
902355 | 123229 | 135383
902463 | 123192 | 135349
902570 | 123159 | 135385
902678 | 123280 | 135673
902785 | 123299 | 135800
902893 | 123181 | 135460
903001 | 123191 | 135521
903108 | 123286 | 135793
903216 | 123268 | 135807
903323 | 123235 | 135766
903431 | 123237 | 135848
903538 | 123242 | 135938
903646 | 123049 | 135530
903754 | 122903 | 135251
903861 | 122975 | 135463
903969 | 122978 | 135466
904076 | 122908 | 135411
904184 | 122972 | 135661
904292 | 123008 | 135790
904399 | 122978 | 135744
904507 | 122703 | 135089
904615 | 122700 | 135146
904722 | 122800 | 135492
904830 | 122789 | 135509
904938 | 122758 | 135432
905046 | 122831 | 135631
905154 | 122901 | 135854
905261 | 122770 | 135517
905369 | 122576 | 135072
905476 | 122698 | 135482
905685 | 122044 | 134812
905793 | 122144 | 135075
905900 | 122116 | 135067
906008 | 122075 | 135020
906115 | 122165 | 135257
906223 | 122184 | 135381
906331 | 122217 | 135483
906438 | 122185 | 135410
906545 | 121930 | 134822
906653 | 121988 | 135030
906761 | 122102 | 135468
906868 | 122076 | 135417
906976 | 121989 | 135276
907084 | 122030 | 135417
907192 | 122098 | 135557
907300 | 121984 | 135261
907407 | 121724 | 134676
907515 | 121839 | 134948
907622 | 121983 | 135324
907730 | 121888 | 135169
907837 | 121882 | 135219
907945 | 121961 | 135399
908053 | 121973 | 135414
908160 | 121745 | 134918
908268 | 121697 | 134796
908376 | 121858 | 135153
908483 | 121841 | 135154
908591 | 121773 | 135025
908698 | 121845 | 135192
908806 | 121848 | 135285
908913 | 121730 | 135007
909021 | 121625 | 134674
909128 | 121691 | 134984
909236 | 121729 | 135212
909344 | 121715 | 135068
909452 | 121752 | 135149
909560 | 121825 | 135321
909667 | 121682 | 135044
909774 | 121441 | 134437
909882 | 121501 | 134637
909990 | 121593 | 134882
910097 | 121524 | 134634
910205 | 121483 | 134623
910312 | 121497 | 134804
910420 | 121526 | 134853
910527 | 121267 | 134176
910635 | 121332 | 134299
910742 | 121432 | 134508
910850 | 121394 | 134361
910958 | 121333 | 134354
911065 | 121421 | 134598
911173 | 121528 | 134795
911280 | 121375 | 134331
911389 | 121195 | 133919
911496 | 121283 | 134163
911604 | 121307 | 134248
911711 | 121235 | 134113
911819 | 121270 | 134262
911926 | 121349 | 134465
912034 | 121340 | 134490
912142 | 121298 | 134417
912249 | 121114 | 133842
912357 | 121165 | 133901
912465 | 121167 | 134122
912572 | 121189 | 134227
912680 | 121197 | 134248
912787 | 121217 | 134330
912895 | 121246 | 134439
913002 | 121278 | 134576
913110 | 121172 | 134311
913217 | 120954 | 133827
913325 | 121085 | 134157
913433 | 121208 | 134492
913541 | 121145 | 134302
913648 | 121162 | 134393
913756 | 121250 | 134563
913864 | 121150 | 134391
913971 | 121039 | 134298
914079 | 120899 | 133911
914186 | 120986 | 134035
914294 | 121025 | 134200
914401 | 120977 | 134105
914509 | 121002 | 134178
914617 | 121011 | 134283
914724 | 121056 | 134434
914832 | 121031 | 134370
914939 | 120848 | 133894
915047 | 120921 | 134133
915155 | 121052 | 134359
915364 | 120699 | 133750
915471 | 120778 | 133977
915579 | 120837 | 134114
915686 | 120789 | 134131
915794 | 120635 | 133665
915902 | 120555 | 133519
916010 | 120630 | 133821
916117 | 120680 | 133959
916225 | 120665 | 133903
916332 | 120720 | 133961
916440 | 120627 | 133833
916547 | 120648 | 133997
916655 | 120545 | 133652
916763 | 120434 | 133324
916870 | 120506 | 133580
916978 | 120534 | 133689
917085 | 120508 | 133593
917193 | 120509 | 133683
917300 | 120533 | 133864
917408 | 120647 | 134126
917516 | 120379 | 133450
917623 | 120398 | 133520
917731 | 120635 | 134133
917838 | 120577 | 134029
917946 | 120525 | 134083
918054 | 120767 | 134677
918162 | 120974 | 135124
918270 | 120880 | 134836
918377 | 120435 | 133654
918485 | 120551 | 133863
918592 | 120656 | 134229
918700 | 120636 | 134211
918808 | 120700 | 134392
918915 | 120857 | 134747
919023 | 120901 | 134798
919130 | 120682 | 134190
919238 | 120549 | 133771
919345 | 120605 | 134009
919453 | 120582 | 134026
919561 | 120501 | 133848
919668 | 120585 | 134007
919776 | 120638 | 134180
919884 | 120578 | 134008
919992 | 120318 | 133286
920100 | 120339 | 133392
920207 | 120405 | 133658
920315 | 120372 | 133566
920422 | 120410 | 133623
920530 | 120471 | 133802
920638 | 120585 | 133951
920745 | 120352 | 133322
920853 | 120177 | 132950
920961 | 120278 | 133297
921068 | 120350 | 133415
921176 | 120302 | 133242
921284 | 120372 | 133430
921391 | 120454 | 133658
921499 | 120415 | 133559
921606 | 120120 | 132853
921714 | 120137 | 132982
921821 | 120241 | 133321
921929 | 120178 | 133230
922037 | 120229 | 133340
922145 | 120312 | 133577
922252 | 120416 | 133798
922360 | 120175 | 133213
922468 | 119896 | 132572
922575 | 120051 | 132936
922683 | 120190 | 133241
922791 | 120112 | 132973
922898 | 120137 | 133063
923006 | 120213 | 133300
923113 | 120205 | 133321
923221 | 119937 | 132640
923328 | 119980 | 132720
923436 | 120103 | 133064
923544 | 120063 | 132932
923652 | 120048 | 132975
923759 | 120146 | 133249
923867 | 120162 | 133352
923974 | 119898 | 132729
924082 | 119834 | 132530
924190 | 120012 | 132918
924298 | 120005 | 132976
924406 | 119964 | 132860
924513 | 120040 | 133031
924621 | 120109 | 133272
924728 | 120080 | 133289
924836 | 119905 | 132853
925045 | 120222 | 133986
925153 | 120221 | 133916
925260 | 120122 | 133792
925368 | 119974 | 133379
925475 | 120093 | 133604
925583 | 120133 | 133782
925691 | 120101 | 133696
925798 | 120143 | 133760
925906 | 120148 | 133880
926013 | 120172 | 133972
926121 | 119987 | 133413
926228 | 119966 | 133451
926336 | 120102 | 133846
926444 | 120077 | 133702
926551 | 120004 | 133558
926659 | 120045 | 133785
926767 | 120153 | 134094
926874 | 119990 | 133564
926982 | 119833 | 133181
927090 | 119975 | 133569
927197 | 120004 | 133642
927305 | 119918 | 133544
927413 | 120037 | 133879
927520 | 120154 | 134170
927628 | 120081 | 133970
927735 | 119795 | 133193
927843 | 119893 | 133424
927950 | 120015 | 133676
928058 | 119874 | 133417
928166 | 119897 | 133508
928273 | 120026 | 133821
928381 | 120058 | 133946
928489 | 119788 | 133176
928597 | 119767 | 133128
928705 | 119882 | 133454
928812 | 119858 | 133405
928920 | 119828 | 133354
929027 | 119920 | 133575
929135 | 119986 | 133779
929242 | 119920 | 133615
929350 | 119698 | 132946
929458 | 119726 | 133074
929565 | 119806 | 133370
929673 | 119803 | 133337
929780 | 119883 | 133449
929888 | 119915 | 133567
929996 | 119916 | 133669
930103 | 119747 | 133173
930211 | 119603 | 132808
930318 | 119685 | 133082
930426 | 119733 | 133264
930534 | 119692 | 133165
930641 | 119769 | 133327
930749 | 119913 | 133677
930857 | 120009 | 133818
930964 | 119651 | 132894
931072 | 119459 | 132757
931180 | 119737 | 133358
931288 | 119797 | 133371
931395 | 119616 | 133020
931503 | 119658 | 133186
931610 | 119735 | 133333
931718 | 119616 | 132931
931825 | 119447 | 132522
931933 | 119752 | 133213
932040 | 120008 | 133831
932148 | 119885 | 133540
932256 | 119998 | 133873
932363 | 120146 | 134201
932471 | 120012 | 134024
932579 | 119600 | 132952
932686 | 119705 | 133225
932794 | 119946 | 133861
932902 | 119808 | 133573
933010 | 119780 | 133483
933117 | 119877 | 133761
933225 | 119920 | 133979
933332 | 119619 | 133208
933440 | 119587 | 133043
933548 | 119851 | 133746
933656 | 119917 | 133968
933763 | 119853 | 133698
933871 | 119869 | 133768
933978 | 119949 | 134121
934086 | 119928 | 134035
934193 | 119649 | 133149
934301 | 119815 | 133585
934409 | 120055 | 134161
934516 | 119981 | 134010
934725 | 120576 | 135885
934832 | 120255 | 134924
934941 | 120036 | 134350
935048 | 120339 | 135271
935156 | 120445 | 135532
935264 | 120347 | 135238
935371 | 120336 | 135413
935479 | 120496 | 135874
935586 | 120554 | 135973
935694 | 120040 | 134617
935801 | 120228 | 135143
935909 | 120484 | 135801
936017 | 120362 | 135464
936124 | 120279 | 135336
936232 | 120440 | 135805
936340 | 120601 | 136159
936447 | 120548 | 135936
936555 | 120152 | 134921
936663 | 120346 | 135411
936770 | 120454 | 135753
936878 | 120276 | 135310
936985 | 120213 | 135094
937093 | 120297 | 135342
937201 | 120163 | 135099
937309 | 119638 | 133779
937416 | 119677 | 133891
937524 | 119963 | 134610
937631 | 119915 | 134477
937739 | 119931 | 134480
937846 | 120085 | 134802
937954 | 120070 | 134899
938062 | 119802 | 134190
938169 | 119786 | 134048
938277 | 120010 | 134730
938385 | 119999 | 134751
938492 | 119945 | 134571
938600 | 120012 | 134780
938707 | 120030 | 134984
938815 | 119798 | 134362
938922 | 119614 | 133862
939030 | 119852 | 134502
939137 | 119936 | 134747
939245 | 119908 | 134492
939353 | 119977 | 134609
939461 | 120018 | 134872
939568 | 119883 | 134506
939676 | 119684 | 133829
939783 | 119845 | 134318
939891 | 119954 | 134668
939998 | 119887 | 134402
940106 | 119863 | 134425
940214 | 119955 | 134917
940321 | 120063 | 135209
940429 | 119542 | 133766
940536 | 119655 | 134088
940644 | 119908 | 134711
940751 | 119774 | 134313
940859 | 119681 | 134312
940967 | 119901 | 134951
941074 | 120038 | 135266
941182 | 119533 | 133785
941291 | 119640 | 134017
941398 | 119976 | 134934
941506 | 119965 | 134863
941613 | 119938 | 134753
941721 | 119936 | 134777
941828 | 119902 | 134602
941936 | 119543 | 133668
942043 | 119367 | 133174
942151 | 119693 | 134037
942259 | 119822 | 134348
942367 | 119658 | 133985
942474 | 119874 | 134614
942582 | 120076 | 135129
942689 | 120025 | 134981
942797 | 119461 | 133441
942904 | 119584 | 133774
943012 | 119802 | 134371
943120 | 119666 | 134033
943227 | 119711 | 134186
943335 | 119920 | 134743
943443 | 120015 | 135021
943550 | 119901 | 134735
943658 | 119511 | 133643
943766 | 119742 | 134183
943873 | 119867 | 134598
943981 | 119836 | 134576
944088 | 119930 | 134834
944196 | 120040 | 135091
944405 | 120185 | 135718
944512 | 119682 | 134226
944620 | 119747 | 134488
944727 | 120045 | 135305
944835 | 120069 | 135295
944942 | 120019 | 135159
945050 | 120073 | 135394
945158 | 120175 | 135633
945265 | 119853 | 134717
945373 | 119659 | 134251
945481 | 119931 | 135003
945588 | 119977 | 135181
945696 | 119866 | 134846
945804 | 119965 | 135163
945911 | 119935 | 134911
946019 | 119962 | 135118
946126 | 119551 | 134129
946234 | 119758 | 134769
946342 | 119940 | 135390
946449 | 119716 | 134841
946557 | 119833 | 135013
946664 | 119994 | 135381
946772 | 120032 | 135562
946880 | 119662 | 134428
946987 | 119708 | 134559
947095 | 119953 | 135242
947202 | 119932 | 135202
947310 | 119921 | 135074
947418 | 119989 | 135315
947525 | 120116 | 135763
947632 | 119912 | 135148
947741 | 119726 | 134617
947848 | 119984 | 135432
947956 | 120034 | 135524
948063 | 119987 | 135317
948171 | 120044 | 135522
948279 | 120111 | 135764
948386 | 120013 | 135381
948494 | 119722 | 134621
948601 | 120008 | 135390
948709 | 120078 | 135576
948816 | 119964 | 135289
948924 | 120084 | 135577
949032 | 120110 | 135664
949139 | 119860 | 135110
949247 | 119484 | 134205
949354 | 119830 | 135047
949462 | 120017 | 135525
949570 | 119838 | 135050
949677 | 119771 | 134925
949785 | 119828 | 135134
949893 | 119932 | 135428
950000 | 119799 | 134919
950108 | 119975 | 135505
950216 | 120217 | 136160
950323 | 120169 | 136080
950431 | 120145 | 135950
950538 | 120151 | 136006
950646 | 120079 | 135818
950753 | 119780 | 134817
950861 | 119905 | 135174
950969 | 120018 | 135566
951076 | 119971 | 135364
951184 | 119978 | 135412
951292 | 120054 | 135661
951399 | 119959 | 135342
951507 | 119592 | 134305
951614 | 119790 | 134971
951722 | 120009 | 135448
951829 | 119867 | 135119
951936 | 119902 | 135226
952045 | 120047 | 135616
952153 | 119783 | 134835
952261 | 119496 | 134043
952368 | 119722 | 134715
952476 | 119833 | 135010
952583 | 119784 | 134788
952691 | 119858 | 135019
952798 | 119940 | 135192
952906 | 119600 | 134283
953014 | 119472 | 133959
953121 | 119770 | 134702
953229 | 119818 | 134908
953336 | 119753 | 134756
953444 | 119869 | 135149
953552 | 119990 | 135490
953659 | 119668 | 134566
953767 | 119329 | 133689
953874 | 119599 | 134441
954083 | 119801 | 135101
954191 | 119784 | 135003
954299 | 119724 | 134907
954406 | 119864 | 135284
954514 | 119950 | 135542
954621 | 119982 | 135650
954729 | 119837 | 135176
954837 | 119423 | 134054
954944 | 119696 | 134858
955052 | 119882 | 135343
955160 | 119844 | 135214
955267 | 119952 | 135596
955375 | 120039 | 135824
955483 | 120054 | 135816
955590 | 120039 | 135768
955698 | 119600 | 134563
955805 | 119702 | 134867
955913 | 119953 | 135701
956020 | 119995 | 135785
956128 | 119946 | 135676
956236 | 120054 | 135918
956344 | 120022 | 135789
956452 | 119945 | 135674
956560 | 119648 | 134819
956667 | 119723 | 134975
956775 | 119941 | 135612
956882 | 119899 | 135488
956990 | 119862 | 135370
957097 | 119955 | 135663
957205 | 120074 | 136041
957312 | 120119 | 136176
957420 | 119698 | 135118
957527 | 119874 | 135624
957635 | 120067 | 136150
957742 | 120045 | 136081
957850 | 120015 | 136053
957958 | 120096 | 136272
958065 | 120156 | 136386
958173 | 119969 | 135824
958281 | 119705 | 135072
958388 | 119963 | 135760
958496 | 120108 | 136211
958604 | 120125 | 136212
958711 | 120177 | 136272
958819 | 120194 | 136408
958926 | 120204 | 136429
959034 | 119949 | 135686
959142 | 119908 | 135594
959250 | 120027 | 135894
959357 | 120045 | 135973
959465 | 120063 | 135974
959572 | 120091 | 136104
959680 | 120100 | 136111
959788 | 119857 | 135416
959895 | 119647 | 134811
960003 | 119929 | 135493
960111 | 119986 | 135710
960218 | 119937 | 135610
960326 | 120044 | 135973
960434 | 120111 | 136157
960542 | 119959 | 135652
960650 | 119592 | 134621
960757 | 119841 | 135312
960865 | 120003 | 135789
960973 | 119958 | 135726
961080 | 119975 | 135838
961188 | 120049 | 136064
961296 | 120061 | 136129
961403 | 119759 | 135264
961511 | 119853 | 135589
961618 | 120058 | 136278
961726 | 120108 | 136367
961834 | 120172 | 136385
961941 | 120270 | 136649
962049 | 120269 | 136644
962157 | 120046 | 136017
962264 | 120010 | 135892
962372 | 120134 | 136244
962479 | 120139 | 136207
962587 | 120050 | 135917
962695 | 120065 | 135975
962803 | 120117 | 136175
962910 | 119999 | 135866
963018 | 119772 | 135175
963125 | 119957 | 135721
963233 | 120056 | 136102
963341 | 120018 | 135930
963448 | 120024 | 135975